Text for specification

Description
reducer for busbar support 01138
for busbars 5 mm
Accessories

Standards
IEC 61439-1:2020

Electrical data

Brand 
Woehner or equivalent

Part No.
01170000