Text for specification

Description
busbar cover
for 12 x 5 busbar, 1 m long
touch protection cover
30Compact 3P
60Classic

Standards
IEC 61439-1:2020

Electrical data

Brand 
Woehner or equivalent

Part No.
01242000A