Text for specification

Description
double-T section busbar 720 mm²
length 2.40 m, plain
60Classic
185mm-System
centre feed unit

Standards
IEC 61439-1:2011

Approvals
CSA, UL

Electrical data
power dissipation at full load of the item:	182,0 W

diagram current capacity (IEC) 

Brand 
Woehner or equivalent

Part No.
01249000