Text for specification

Description
spacer
suitable for 01272
for UL applications
30Compact 3P

Standards
IEC 61439-1:2011

Approvals
UL

Electrical data
rated voltage (UL) AC:	600 V

Brand 
Woehner or equivalent

Part No.
01374000A