Text for specification

Description
intermediate busbar brace
to increase the mechanical strength
2 mm
30Compact 3P
30Compact 5P

Standards
IEC 61439-1:2011

Electrical data

Miscellaneous 
high mechanical strength with greatly reduced space requirement compared to busbar support 01 272

Brand 
Woehner or equivalent

Part No.
01376000