Text for specification

Description
touch protection cover IP20
for flat conductors

Standards
IEC 61439-1:2011
IEC 60999-1:1999
IEC 60999-2:2003

Electrical data

Brand 
Woehner or equivalent

Part No.
01655000A