Text for specification

Description
rail mounting
for mounting rail 35 x 7.5
for PE/N bars 01126 - 01129 and 01926 - 01932
Accessories

Standards
IEC 61439-1:2011

Electrical data

Brand 
Woehner or equivalent

Part No.
08825000