Text for specification

Description
IP20 protection cover (front)
incl. 3 top covers
300 mm wide
185Power

Standards
IEC 61439-1:2011

Electrical data

Material properties
Main body:
	temperature stability 125°C,
	self-extinguishing in acc. to UL 94,
	creepage resistance CTI 600,
	halogen-free
Cover:
	temperature stability 125°C,
	fire behaviour UL 94 HB,
	creepage resistance CTI 200,
	halogen-free 

Brand 
Woehner or equivalent

Part No.
32706000A