Text for specification

Description
wedge clamp terminal, single,  for Cu and Al cond.
70 - 120 mm²
Accessories

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Terminal points
70 – 120

Suitable for aluminium cables.
When using aluminium cables, observe the maintenance instructions.

Brand 
Woehner or equivalent

Part No.
33365000