Text for specification

Description
pilot switch
1 n/c + 1 n/o, screw terminal
Accessories

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Approvals
UL

Electrical data

Miscellaneous 
mountable on both sides removable 

Brand 
Woehner or equivalent

Part No.
33692000A