Text for specification

Description
current transformer 100 A / 5 A
1.5 VA / class 0.5
size 00
185Power

Standards
IEC 61869-1:2007
IEC 61869-2:2012

Electrical data
power dissipation at full load of the item:	5,0 W

Material properties
Material: polyamide
temperature-resistant up to 120 °C

Brand 
Woehner or equivalent

Part No.
33749000