Text for specification

Description
mount for busbar section cover
depth 32 mm, for 01025
9 x 196 x 32
60Classic

Standards
IEC 61439-1:2020

Approvals
CSA, UL

Electrical data

Brand 
Woehner or equivalent

Part No.
01026000