Text for specification

Description
compartment section
closed
17 x 86 x 1100
60Classic

Standards
IEC 61439-1:2011

Electrical data

Miscellaneous 
To safeguard against touching the busbars from above and below.

Brand 
Woehner or equivalent

Part No.
01039000