Text for specification

Description
cover cap incl. rear touch protection cover
for connection modules 185Power
for use with CrossLink®185 touch-safe protection cover modules
185Power

Standards
IEC 61439-1:2011
IEC 60999-1:1999
IEC 60999-2:2003

Approvals
UL

Electrical data

Brand 
Woehner or equivalent

Part No.
01437000A