Text for specification

Description
cylindr. fuse link 1,5 A
600 V AC, fast acting
Class CC
Accessories

Standards

Approvals
UL

Electrical data

rated current (UL):	1,5 A
rated voltage (UL) AC:	600 V

SCCR:	200 kA

Brand 
Woehner or equivalent

Part No.
31402100