Text for specification

Description
current transformer 400 A / 5 A, with decl. of conformity
2.5 VA / class 0.5
60Classic
185Power
Accessories

Standards
IEC 61869-1:2007
IEC 61869-2:2012

Electrical data
power dissipation at full load of the item:	1,5 W

Brand 
Woehner or equivalent

Part No.
37234000A