Text for specification

Description
holder for flexible copper
for multiple fastening for lam. Cu of 5x 40 x 1 to 10x 100 x 1
Accessories

Standards
IEC 61439-1:2011

Electrical data

Brand 
Woehner or equivalent

Part No.
01299000