Text for specification

Description
CAPUS®Panel
switch-disconnector 3-pole + N
screw M12, graphite-grey handle
1000 A

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data
Rated current (IEC):	1,000 A
rated voltage (IEC) AC:	690 V

power dissipation at full load of the item:	190.0 W

rated isolation voltage Ui AC:	1000 V
rated surge voltage Uimp :	12 kV
rated making capacity:	63 kA

Gebrauchskategorien siehe Datenblatt (unter Downloads)

Brand 
Woehner or equivalent

Part No.
23026000AD