Text for specification

Description
label
PE/N green-yellow / blue
diameter 15 mm
Accessories

Standards
IEC 61439-1:2011

Electrical data

Brand 
Woehner or equivalent

Part No.
78447000