Text for specification

Description
busbar cover
for double-T and triple-T section, 1m long
touch protection cover
60Classic
185mm-System
centre feed unit

Standards
IEC 61439-1:2011

Approvals
CSA, UL

Electrical data

Brand 
Woehner or equivalent

Part No.
01252000