Text for specification

Description
connection space cover, top / bottom attachable
for covering all terminals at one side of the switch, transparent
für 3P, 3P+N, 4P

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
23919000AD