Text for specification

Description
cylindr. fuse link 20 A
600 V AC, time delay
Class CC
Accessories

Standards

Approvals
UL

Electrical data

rated current (UL):	20 A
rated voltage (UL) AC:	600 V
rated voltage (UL) DC:	300 V

SCCR:	200 kA

SCCR: 100 kA DC 

Brand 
Woehner or equivalent

Part No.
31250000