Text for specification

Description
Set of phase separators for UL installation, 3-pole
for longitudinal connecting terminals 01990, 01823, 01827
105 mm
60Classic

Standards
IEC 61439-1:2011

Approvals
UL

Electrical data
rated voltage (UL) AC:	600 V

Brand 
Woehner or equivalent

Part No.
01360000