Text for specification

Description
busbar support, 3-pole, centre
centre feed unit

Standards
IEC 61439-1:2020

Approvals
UL

Electrical data
rated voltage (IEC) AC:	690 V
rated voltage (UL) AC:	600 V

rated isolation voltage Ui AC:	1000 V
rated surge voltage Uimp :	8 kV

Brand 
Woehner or equivalent

Part No.
35001000