Text for specification

Description
reserve section cover
variable, 36 to 64 x 195, with 2 pieces
60Classic

Standards
IEC 61439-1:2011

Electrical data

Brand 
Woehner or equivalent

Part No.
79859000