Text for specification

Description
trough edge section
slim
17 x 36 x 1100
60Classic

Standards
IEC 61439-1:2020

Electrical data

Material properties
Cover:
	temperature stability 70°C, 
	self-extinguishing in acc. to UL 94

Miscellaneous 
Part of the shrouding system for shock protection of the 3 and 4-pole busbar system.

Brand 
Woehner or equivalent

Part No.
01037000