Text for specification

Description
earth/neutral busbar 63A
16 terminal points
protected against self-loosening
Accessories

Standards
IEC 60664-1:2007

Electrical data
Rated current (IEC):	63 A

Terminal points
0.5 - 6mm² flexible with wire-end ferrule
0.75 - 6mm² solid round

Brand 
Woehner or equivalent

Part No.
01128000