Text for specification

Description
compartment section
106 mm deep, 2.40 m long
2400 x 106
60Classic

Standards
IEC 61439-1:2020

Approvals
UL

Electrical data

Material properties
Cover:
	temperature stability 70°C, 
	self-extinguishing in acc. to UL 94

Brand 
Woehner or equivalent

Part No.
01238000