Text for specification

Description
busbar cover
for double-T and triple-T section, 1m long
touch protection cover
60Classic
185mm-System
centre feed unit

Standards
IEC 61439-1:2020

Approvals
CSA, UL

Electrical data

Material properties
thermoplastic with high shape permanence to heat,
temperature stability maximum 100 °C
self-extinguishing in acc. to UL 94

Brand 
Woehner or equivalent

Part No.
01252000