Text for specification

Description
CAPUS®Panel
locking device for direct drive

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
23954000AD