Text for specification

Description
D02 screw cap, plastic, with reducer for D01
400 V,  with inspection hole
E 18
Accessories

Standards
IEC 60269-1:2006 + A1:2009 + A2:2014
IEC 60269-3:2010 + A1:2013 + A2:2019

Electrical data
rated voltage (IEC) AC:	400 V
rated voltage (IEC) DC:	250 V

Brand 
Woehner or equivalent

Part No.
31104000