Text for specification

Description
touch-safe protection shroud IP20 (rear installation)
for all adapters
185Power

Standards
IEC 61439-1:2011

Electrical data
5% derating for the electrical data of the circuit breaker

Material properties
Cover:
	temperature stability 125°C,
	fire behaviour UL 94 HB,
	creepage resistance CTI 200,
	halogen-free 

Brand 
Woehner or equivalent

Part No.
32704000A