Text for specification

Description
prism terminal, double, for Cu cables
2x 185 mm²
size 3
60Classic

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
33385000