Text for specification

Description
side-mounted module
attachable to both sides
3.5 mm
30Compact 3P

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
33805000A