Text for specification

Description
current transformer 800 A / 5 A
2.5 VA / class 0.5
60Classic
Accessories

Standards
IEC 61869-1:2007
IEC 61869-2:2012

Electrical data
power dissipation at full load of the item:	5.1 W

Material properties
temperature-resistant up to 125 °C

Brand 
Woehner or equivalent

Part No.
37224000A