Text for specification

Description
fixing clip for current transformer
for mounting at busbars and in adapters 630 A
for busbars 25-30 x 5 and 12-30 x 10
60Classic
185Power
Accessories

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
37900000A