Text for specification

Description
busbar section cover
700 x 195
60Classic

Standards
IEC 61439-1:2011

Approvals
CSA, UL

Electrical data

Brand 
Woehner or equivalent

Part No.
01025000