Text for specification

Description
D01 screw cap, porcelain
400 V
E 14
Accessories

Standards
IEC 60269-1:2006 + A1:2009 + A2:2014
IEC 60269-3:2010 + A1:2013 + A2:2019

Electrical data
rated voltage (IEC) AC:	400 V
rated voltage (IEC) DC:	250 V

Brand 
Woehner or equivalent

Part No.
01103000