Text for specification

Description
earth/neutral busbar 63A
166 terminal points
protected against self-loosening
Accessories

Standards
IEC 60664-1:2007

Electrical data
Rated current (IEC):	63 A

Brand 
Woehner or equivalent

Part No.
01130000