Text for specification

Description
tunnel terminal for screw connection M8
1x 2.5 - 16 mm² + 2x 2.5 - 25 mm²
NH 00
60Classic

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
01182000