Text for specification

Description
busbar cover
for 12 - 30 x 10 busbar, 1 m long
touch protection cover
30Compact 3P
60Classic
100Energy
185Power
185mm-System
centre feed unit

Standards
IEC 61439-1:2020

Approvals
CSA, UL

Electrical data

Brand 
Woehner or equivalent

Part No.
01245000