Text for specification

Description
neutral terminal, blue
snap-on
Accessories

Standards
IEC 61439-1:2011

Electrical data
Rated current (IEC):	63 A
rated voltage (IEC) AC:	400 V

rated isolation voltage U_i AC:	500 V
rated surge voltage U_imp :	6 kV

Brand 
Woehner or equivalent

Part No.
01257000