Text for specification

Description
spacer
suitable for 01508
for UL applications
60Classic

Standards
IEC 61439-1:2011

Approvals
UL

Electrical data
rated voltage (UL) AC:	600 V

Brand 
Woehner or equivalent

Part No.
01358000A