Text for specification

Description
cover cap, 4-pole
228 mm wide
228 x 260 x 90
60Classic

Standards
IEC 61439-1:2011
IEC 60999-1:1999
IEC 60999-2:2003

Approvals
CSA, UL

Electrical data

Brand 
Woehner or equivalent

Part No.
01597000