Text for specification

Description
earth/neutral busbar 63A
6 terminal points 10mm², screw-on, 61.5 mm long
without terminal clamp
Accessories

Standards
IEC 60664-1:2007

Electrical data

Brand 
Woehner or equivalent

Part No.
01926000