Text for specification

Description
insulator
with female thread at both sides, length across flats 40
M10 x 60
Accessories

Standards
IEC 61439-1:2011

Electrical data
rated voltage (IEC) AC:	3000 V
rated voltage (IEC) DC:	3000 V

Brand 
Woehner or equivalent

Part No.
05789000