Text for specification

Description
set of connectors
connector to create multipole adapters (100 pieces)
for 50 connections
30Compact 5P

Standards
IEC 61439-1:2011

Electrical data

Brand 
Woehner or equivalent

Part No.
31390000