Text for specification

Description
replacement fuse for MOTUS®
fuse 20 A for version 9 A
10x38 gR

Standards
IEC 60269-1:2006 + A1:2009 + A2:2014
IEC 60269-2:2013 + A1:2016, Fuse system F

Electrical data
Rated current (IEC):	20 A
rated voltage (IEC) AC:	500 V

rated current (UL):	16 A
rated voltage (UL) AC:	500 V

Brand 
Woehner or equivalent

Part No.
31568000