Text for specification

Description
touch-safe protection shroud IP20 (rear installation)
for all adapters
185Power

Standards
IEC 61439-1:2011

Electrical data
5% derating for the electrical data of the circuit breaker

Brand 
Woehner or equivalent

Part No.
32704000A