Text for specification

Description
lead AWG 4 (25 mm²), 210 mm long
60Classic

Standards
IEC 61439-1:2011

Approvals
UL

Electrical data
power dissipation at full load of the item:	1.7 W

Brand 
Woehner or equivalent

Part No.
32914000